## Instructions check list
Energy self-diagnosis - SIG éco21
How to use the self-diagnosis tool
1 | Visit your building's technical installations (if possible with your maintenance service provider) with the questionnaire in the tab "Identification" and applying the following methodology:
- Use the box "Not applicable" next to each energy performance improvement proposition that cannot be implemented on your site (technical impossibility, organisational impossibility).
- Use the box "Not completed" next to each energy performance improvement proposition that is achievable on your site.
- Use the box "Partially completed" next to each energy performance improvement proposition that is in the process of being implemented on your site and/or that has only been applied to part of your site.
- Use the box "Totally completed" next to each energy performance improvement proposition that is achieved on your site.
2 | In order to have a precise view of your potential, do not hesitate to complete the column "Comments", including the feedback from your mantenace service provider and/or your internal technical staff.
3 | Identify the priority actions using the evaluation criteria "Not completed" or "Partially completed".
3 | If necessary: Select the 3-4 most interesting actions for each status "Not completed" or "Partially completed".
4 | For the two tabs "Not completed actions" and "Partially completed actions": Fill the the comlumn "E "(Decision) and "F" (Proposed date).
5 | Plan your actions and if you are assisted by éco21, send back the completed self-diagnosis tool.
© SIG 2022

## Identification
Date of self-diagnosis
Organisation's name
Name of person completing the self-diagnosis
Site address
Energy improvement proposition | Profitability | Evaluation Enter the number 1 in the appropriate box |  |  |  | Comments
|  | Not applicable | Not completed | Partially completed | Totally completed
HEATING
Set up a time schedule to reduce heating during the times when the building is unoccupied (night, week-end, etc.). Sheet : 9975-ECH-BO Reduce the flow temperature outside of usage periods | + + + +
Adjust the heating control's schedule to the building's real occupation schedule. Sheet: 9975-ECH-BO Reduce the flow temperature outside of usage periods | + + + +
Ask the maintenance service provider to check the boiler's parameters (heating curves) and correct the settings if necessary. Sheet : 9982-ECH-BO Set the heating curve correctly | + + + +
If the boiler is a "condensing boiler", ask the maintenance service provider to lower the return temperature (changing the starting setpoint and flow rate) | + + + +
Insulate the heating pipes in unheated rooms and reduce the heating water's circulation speed. Sheet : 9974-ECH-BO Reduce the circulating pump’s flow rate | + + + +
Check the settings of the thermostatic valves or wall thermostats. Sheet : 9979-ECH-BO Set thermostat valves correctly Sheet : 9980-ECH-BO Protect thermostat valves | + + + +
Numer of themes marked as "not applicable" |  | 0
Final score (sum of points) |  | 0 |  |  | 100%
Energy improvement proposition | Profitability | Evaluation Enter the number 1 in the appropriate box |  |  |  | Comments
|  | Not applicable | Not completed | Partially completed | Totally completed
VENTILATION AND COOLING
Set up a time schedule to reduce the ventilation flow rate during the times when the building is unoccupied. Sheet: 9987-ECH-BO Adapt the ventilation operating times | + + + +
Ask the maintenance service provider to adjust the flow rate of air entering the building (fresh air) to the air flowrate recommended according to the standards in force. Sheet: 9988-ECH-BO Airflow | + + + +
During the winter period, ask the maintenance service provider to favour the ventilator bearing (or stop the pulsed air) outside the building's occupation hours. Fiche : 9990-ECH-BO Heat recovery | + + + +
Limit the air extraction from the building during the times when the building is unoccupied (night, week-end, etc.). | + + + +
Ask the maintenance service provider to modify the ventilation setpoints (day/night & week-end) and the comfort conditions according to the season (summer/winter). | + + + +
If the cooling in the building is coupled to the ventilation, ask the service provider to stop the humidification when the outside temperature exceeds 8°C. | + + + +
Ask the maintenance service provider to check the heating and cooling settings (setpoints, operating periods, etc.) to avoid the simultaneous operation of both equipments in the same room. | + + + +
Numer of themes marked as "not applicable" |  | 0
Final score (sum of points) |  | 0 |  |  | 100%
Energy improvement proposition | Profitability | Evaluation Enter the number 1 in the appropriate box |  |  |  | Comments
|  | Not applicable | Not completed | Partially completed | Totally completed
DOMESTIC HOT WATER
If the building has a large surface, install decentralised hot water production and cut the circulation loop. | + + +
Insulate the walls of the domestic hot water tank (at leat 10 cm to comply with anti-legionella measures). | + + +
Equip washbasin and shower taps with a timer (e.g. push buttons). Sheet: 9973-ECH-BO Reduce the water volume used | + + +
Install flow reducers on hot water taps (pressure reducers on hand-washing taps, low-flow shower heads). | + + +
Set the electric heating of the tank at night. | + + +
Educate occupants to limit their use of hot water and to use cold water rather than hot water. | + +
Numer of themes marked as "not applicable" |  | 0
Final score (sum of points) |  | 0 |  |  | 100%
Energy improvement proposition | Profitability | Evaluation Enter the number 1 in the appropriate box |  |  |  | Comments
|  | Not applicable | Not completed | Partially completed | Totally completed
LIGHTING
Replace fluorescent tubes with LED tubes. Sheet: 9965-ECH-BO Replace old fluorescent lamps with modern LED tubes | + + +
Replace incandescent and halogen lamps with LED lamps. Sheet: 9965-ECH-BO Replace old fluorescent lamps with modern LED tubes | + + +
Manage the operation of outdoor lighting according to actual needs (time programming, photoelectriccells, presence detectors or in synchronisation with public lighting). Sheet: 9967-ECH-BO Set sensors | + + +
Install timers in rooms that are intermittently occupied (toilets, corridors, car parks, etc.) Sheet: 9967-ECH-BO Set sensors | + + +
Adapt the intensity of lighting to actual needs (meeting rooms, cafeteria, etc.). Sheet: 9966-ECH-BO Adapt illumination level | + + +
Numer of themes marked as "not applicable" |  | 0
Final score (sum of points) |  | 0 |  |  | 100%
Energy improvement proposition | Profitability | Evaluation Enter the number 1 in the appropriate box |  |  |  | Comments
|  | Not applicable | Not completed | Partially completed | Totally completed
OFFICE EQUIPMENT
Turn off the computers at night. | + + + +
Set computers to sleep mode if they allow it. | + + + +
Reduce the number of printers by concentrating them (by zone, by floor, etc. rather than by office). | + + +
Numer of themes marked as "not applicable" |  | 0
Final score (sum of points) |  | 0 |  |  | 100%
© SIG 2022
Energy self-diagnosis Quick identification of improvements potential

## Potential
| Organisation : |  | Date :
Completed by :
Achievement potential
| HEATING | 100%
| VENTILATION AND COOLING | 100%
| DOMESTIC HOT WATER | 100%
| LIGHTING | 100%
| OFFICE EQUIPMENT | 100%
© SIG 2022
Energy self-diagnosis Improvements potential

## Not completed actions
| Not completed projects | Profitability | Comments | Decision | Proposed date
HEATING
VENTILATION AND COOLING
DOMESTIC HOT WATER
LIGHTING
OFFICE EQUIPMENT
© SIG 2022
Summary - Not completed actions

## Partially completed actions
| Partially completed projects | Profitability | Comments | Decision | Proposed date
HEATING
VENTILATION AND COOLING
DOMESTIC HOT WATER
LIGHTING
OFFICE EQUIPMENT
© SIG 2022
Summary - Partially completed actions